## Syllabus
SYLLABUS
1. Measurement of susceptibility of paramagnetic solution (Quinckf s Tube Method)
2. To measure the Magnetic susceptibility of Solids.
3. To determine the Coupling Coefficient of a Piezoelectric crystal.
4. To measure the Dielectric Constant of a dielectric Materials with frequency
5. To determine the complex dielectric constant and plasma frequency of metal using
Surface Plasmon resonance (SPR)
6. To determine the refractive index of a dielectric layer using SPR
7. To study the PE Hysteresis loop of a Ferroelectric Crystal.
8. To draw the BH curve of Fe using Solenoid & determine energy loss from
Hysteresis.
9. To measure the resistivity of a semiconductor (Ge) with temperature by four-
probe method (room temperature to 150 °C) and to determine its band gap.
done | 10. To determine the Hall coefficient of a semiconductor sample.
11.To measure the mutual inductance of two coaxial coils at various relative
orientations using a ballistic galvanometer.
12.Verification of the inverse cube law for magnetic dipoles (study of the dependence
of the field of a magnetic dipole on distance) and determination of the horizontal
component of the earth’s magnetic field by deflection and oscillation magnetometers.

## Sheet1
Hall Effect
Sample | Thickness (t) |  | Width (b)
Table 1 |  | Not connected | 0.06 | 0.58
Current (em) I | Magnetic Field H in Gauss |  |  |  | error
A | Forward | Reverse | Mean | Mean | Not needed
modified
0 | 0.66 | 0.62 | 0.64 | 0.58 | 0.04
0.5 | 1.99 | -1.05 | 1.52 | 1.46 | 0.94
1 | 3.48 | -2.7 | 3.09 | 3.03 | 0.78
1.5 | 4.79 | -4.34 | 4.565 | 4.505 | 0.45
2 | 6.15 | -5.79 | 5.97 | 5.91 | 0.36
2.5 | 7.44 | -7.32 | 7.38 | 7.32 | 0.12
3 | 8.68 | -8.63 | 8.655 | 8.595 | 0.05
3.5 | 10.05 | -9.9 | 9.975 | 9.915 | 0.15
4 | 11.22 | -11.12 | 11.17 | 11.11 | 0.1
4.5 | 12.36 | -12.25 | 12.305 | 12.245 | 0.11
5 | 13.48 | -13.27 | 13.375 | 13.315 | 0.21
[5 empty] | 0.30091 | avg. error
Table 2
| mA |  |  | zero field pot. | 0.5
Hall current (I) A | 1.44 | Zero field potential V (mV)
EM Current I | H in Gauss | Hall Voltage VH for Hall curr. |  | Hall Voltage VH for rev. Hall curr. |  | Mean VH
A | Gauss | Probe V1 | Probe V2 | Probe V3 | Probe V4 | ((V1~V2)+(V3~V4))/4
|  | mV | mV | mV | mV | mV
0 | 0.58 | 36.4 | 33.1 | 36.2 | 36.3 | 0.85 | 1.45
0.5 | 1.46 | 39.7 | 29.7 | 39.4 | 31.2 | 4.55 | 1.44
1 | 3.03 | 44 | 26.2 | 43.6 | 27.4 | 8.5 | 1.44
1.5 | 4.505 | 48.7 | 23.1 | 47.6 | 24 | 12.3 | 1.43
2 | 5.91 | 52.2 | 20.7 | 51.4 | 21.4 | 15.375 | 1.45
2.5 | 7.32 | 56.5 | 18.1 | 55.8 | 18.4 | 18.95
3 | 8.595 | 60.5 | 15.9 | 59.6 | 16.1 | 22.025
3.5 | 9.915 | 63.9 | 14.1 | 63 | 14.2 | 24.65
4 | 11.11 | 67.6 | 12.4 | 66.5 | 12.5 | 27.3
4.5 | 12.245 | 71.3 | 11 | 69.2 | 11.1 | 29.6
5 | 13.315 | 73.6 | 9.7 | 72 | 9.8 | 31.525
Table 3
const current | 1.5
Const H (Gauss) | 4.505 | Zero field potential V (mV)
Hall current I | Hall Voltage VH for Hall curr. |  | Hall Voltage VH for rev. Hall curr. |  | Mean VH
A | Probe V1 | Probe V2 | Probe V3 | Probe V4 | ((V1~V2)+(V3~V4))/4
| mV | mV | mV | mV | mV
0.01 | 0.6 | 0.4 | 0.7 | 0.3 | 0.15
0.5 | 16.3 | 7.8 | 16.5 | 8.7 | 4.075
1 | 33 | 16.3 | 33 | 16.4 | 8.325
1.5 | 50.6 | 24.1 | 50.2 | 24.2 | 13.125
2 | 68 | 32 | 65.1 | 34 | 16.775
2.5 | 81.5 | 40.7 | 81.9 | 41.6 | 20.275
3 | 99 | 48.5 | 98.5 | 50.1 | 24.725
3.5 | 112.5 | 56 | 113.2 | 58.6 | 27.775
4 | 129.5 | 64.2 | 128.7 | 66.4 | 31.9
4.5 | 142.7 | 71.5 | 144.1 | 74.9 | 35.1
5 | 159.4 | 79.5 | 158.7 | 82.8 | 38.95
Calculation
Graph | VH vs H at constant IH |  | RH = VH t / I H
Graph | VH vs IH at constant H

## 10.1
I | H_forward | H_reverse | H_Mean | H_modified
0 | 0.66 | 0.62 | 0.64 | 0.58
0.5 | 1.99 | -1.05 | 1.52 | 1.46
1 | 3.48 | -2.7 | 3.09 | 3.03
1.5 | 4.79 | -4.34 | 4.565 | 4.505
2 | 6.15 | -5.79 | 5.97 | 5.91
2.5 | 7.44 | -7.32 | 7.38 | 7.32
3 | 8.68 | -8.63 | 8.655 | 8.595
3.5 | 10.05 | -9.9 | 9.975 | 9.915
4 | 11.22 | -11.12 | 11.17 | 11.11
4.5 | 12.36 | -12.25 | 12.305 | 12.245
5 | 13.48 | -13.27 | 13.375 | 13.315

## 10.2
IH | I | H | V1 | V2 | V3 | V4 | VH
1.44 | 0 | 0.58 | 36.4 | 33.1 | 36.2 | 36.3 | 0.85
1.44 | 0.5 | 1.46 | 39.7 | 29.7 | 39.4 | 31.2 | 4.55
1.44 | 1 | 3.03 | 44 | 26.2 | 43.6 | 27.4 | 8.5
1.44 | 1.5 | 4.505 | 48.7 | 23.1 | 47.6 | 24 | 12.3
1.44 | 2 | 5.91 | 52.2 | 20.7 | 51.4 | 21.4 | 15.375
1.44 | 2.5 | 7.32 | 56.5 | 18.1 | 55.8 | 18.4 | 18.95
1.44 | 3 | 8.595 | 60.5 | 15.9 | 59.6 | 16.1 | 22.025
1.44 | 3.5 | 9.915 | 63.9 | 14.1 | 63 | 14.2 | 24.65
1.44 | 4 | 11.11 | 67.6 | 12.4 | 66.5 | 12.5 | 27.3
1.44 | 4.5 | 12.245 | 71.3 | 11 | 69.2 | 11.1 | 29.6
1.44 | 5 | 13.315 | 73.6 | 9.7 | 72 | 9.8 | 31.525

## 10.3
H | IH | V1 | V2 | V3 | V4 | VH
4.505 | 0.01 | 0.6 | 0.4 | 0.7 | 0.3 | 0.15
4.505 | 0.5 | 16.3 | 7.8 | 16.5 | 8.7 | 4.075
4.505 | 1 | 33 | 16.3 | 33 | 16.4 | 8.325
4.505 | 1.5 | 50.6 | 24.1 | 50.2 | 24.2 | 13.125
4.505 | 2 | 68 | 32 | 65.1 | 34 | 16.775
4.505 | 2.5 | 81.5 | 40.7 | 81.9 | 41.6 | 20.275
4.505 | 3 | 99 | 48.5 | 98.5 | 50.1 | 24.725
4.505 | 3.5 | 112.5 | 56 | 113.2 | 58.6 | 27.775
4.505 | 4 | 129.5 | 64.2 | 128.7 | 66.4 | 31.9
4.505 | 4.5 | 142.7 | 71.5 | 144.1 | 74.9 | 35.1
4.505 | 5 | 159.4 | 79.5 | 158.7 | 82.8 | 38.95